Challenges in deploying
Home Energy Management Systems
… and some hope in mastering them.
Markus Storm
markus@storm.house
[Speaker Notes: Welcome! This is a rapid talk on deploying Energy Management in households and on challenges we have encountered from hardware to software stack all the way up to layer 8, the household owner.]

---
Potential savings in households
major consumer devices are major investments, replacing in themselves does not pay off
Electric Vehicle
HVAC: heating, warm water, aircon
White goods: washing machine, dish washer, fridge
Power shift your consumption
increase PV self-consumption
Spread feed-in compensation <=> your grid tariff
Wash cycle 7ct vs 46ct
[Speaker Notes: Analyzing the potential for energy savings in households, there's on average just 3 major consumers worth investigating, and once you will have exchanged your old fossile heating for a heat pump, all of those are electric so saving the planet from at home is all about saving electric energy. Well, short of going vegan maybe, but I love my daily burger. So it‘s the car and just like in computing, it‘s climatization and the big iron appliances to cause the most headache. Exchanging those devices for more efficient ones means major invest and doesn‘t buy you relevant savings in energy. But there is hope. There is still potential for energy COST savings if you have PV power AND have proper control over when you consume it. So how does that work? Example: Doing the washing typically takes around 1kWh. I just got a raise to 46ct so that‘s my energy cost when I‘m doing my washing at night using power from the grid. Now if you have an EM system postpone the run to around noon the next day or more precisely to when there is excess PV power available from your roof, cost is only lack of feed-in compensation, 7ct in my case. Figures will vary between countries, in Germany to move all your clothing and dish washings will save you more than 100€ a year. Potential savings in EV charging and heating are even larger. This will also work WITHOUT a solar plant using a variable power tariff. In those you pay about the price of the power stock exchange plus a transmission fee. Savings are less however still well worth it.]

---
Building(s,) the base
Access to HVAC and power hardware
Multi apartment housing
renting
Getting hardware
and someone competent to set it up for you
HVAC vs electric vs solar domain installers
[Speaker Notes: Now on to the challenges. First is getting hold of an EV or – in due time - a heat pump and a competent installer. that‘s a problem of its own, let alone for a good price. Next is housing: In apartment buildings, there‘s unresolved problems in ascribing cost of PV and EV charging energy to single users. Only building owners will possess the required information on wiring, access to electric and HVAC devices, contracts with utility companies and contractors, and often will not allow any renter to modify anything. Let alone property management companies that fight even balcony plants just for the look of it. Effectively, EM deployments are limited to home owners that have physical and logical access to all relevant devices. So how does that work once your home qualifies for it? You need a computer on site that can talk to inverter, EV charger, the heat pump and your white good devices. So the first hurdle is to physically connect to those devices for control. Local control rules, running in the cloud is unreliable, for technical and other reasons. Maintaining a proper state machine is a challenge and you probably all know the risk to operations and financials with cloud services.]

---
Connecting to devices
Inverters
RS485, Modbus
Adapters to help with wiring
lack of docs
Chargers
App-only, some few web interactive
Inverter combos
Heat pumps
Standard „Smart Grid ready“ wiring
Some Modbus, some proprietary IP based
[Speaker Notes: Almost all inverters are Modbus based. most only have a serial connector. There's serial-to-LAN and WiFi adapters to take care of connecting. Technically no big deal but often a deal breaker when the installer on site doesn‘t know and the ones in the know, the software people, don‘t have physical access. Modbus is a simple protocol but then again every vendor has its own list of registers and logic. To be fair, most vendors nowadays *are* offering at least register specs for download - not so much about the logic that information is often incomplete and hard to get hold of. But the harder part is that there's no standardization so implementers like ourselves have to figure out for every single device. For chargers there's no wireline equivalent, and those put up another kind of challenge: there is no single unified logic in talking to those. There are also next-gen protocols such as EEBus and OCPP to become available in more and more field-deployed hardware by upgrading. Chargers all can be controlled because that used to be a prerequisite to get the installation government funded, however control usually is app-only, some even use a Bluetooth link only, both is challenges to make them become part of any automation. Connecting devices is where openHAB and even more so its community are great. In the energy device domain, there's openHAB bindings for more or less every officially published API. Bindings are software modules to translate device specific communications to the abstract representation layer that openHAB is based on. Many open source minded people have figured out how to control their own inverters and thankfully shared this information. For chargers we moved to EVCC, that‘s another great Open Source software dedicated to handling charging that has a Web API, too. So now we only have a single API (albeit more complex) and a unified logic layer to cope with.]

---
A Thank You to Lobbying
Accessing inverter configuration
Getting someone to configure it for you
Metering your consumption
„Smart“ Meter access
[Speaker Notes: This is my favorite lowlight slide Access to inverters is limited: all relevant device settings such as to enable external control, all Modbus and SG ready related parameters are on admin level. You might know that from the HVAC industry but with inverters, most installers don't even hand the password of the device to the owner of the device. With some inverters, the admin account is even linked to the installer and he signed with the vendor that he would pass it on. All of this is effect of successful lobbying in the past. Grid operators deny certifications to vendors if they don‘t implement this crap. Installers are also very much intimidated by grid operators and afraid of loosing support or to get suedalthough there is absolutely no contractual relationship installer - (electricity) grid operator. That only exists with the home owner to own the device, but HE is denied access. It's particularly nasty when it comes to battery control. Some greedy energy companies, albeit regulated, do not want users to feed the grid from battery and managed to prevent it this way. Fortunately, at least in Germany there have been major changes starting this year but they still don‘t apply to most of the installed base. Another lowlight is challenges in meter usage. Proper EM requires to meter consumption but you have to install your own smart meter even though you get an official one installed with your solar plant. But you effectively cannot access that one‘s readings, let alone in real time, even with so-called "intelligent“ meters that have a gateway as data is only sent to the network provider, to be a accessed via portal. Ultimately you have to install another meter of your own. That in turn requires you to get an electrician (well there‘s sensors like Shelly 3EM that you can install yourself, but to many, the electric cabinet door is the line they don‘t dare to cross).]

---
Heat pumps on the rise
Some not-so-straight use cases
Individual, undocumented wiring
Multiple inverters, meters, tariffs
Need to decode and adapt to energy flows
Setting up SGready interface
2 bit wireline signal inverter → heat pump
Spec on both ends needed, plus actuator
[Speaker Notes: There are complex electric setups out there with multiple inverters, usually from different brands. That we often encounter in upgraded older installations, and I‘m not even counting balcony plants. Owners of heat pumps or night storage heaters also often make use of dedicated tariffs - those require another meter. Connecting to heat pumps is rather simple via SGr that’s a two-bit wireline interface to signal cheap power is available. Nonetheless, in reality only few HVAC installers setup SGr because to them it‘s the electrician‘s job. That one of course doesn‘t care to return once the PV is working. Any layman is allowed to setup SGr himself, it's low voltage (which means you won't risk your life and insurance) but few know, and it‘s badly documented. So most home owners are unaware or afraid of doing it themselves. And devil is in the details: During recent installation of my very own heat pump, they have put wires but didn‘t connect them on the pump side. So I had to call support and they sent me a picture of where to connect the low voltage wires – and got warned that opening the enclosure will expose me to the risk of touching 400 volts ... DC! So should there not be any FOSDEM presentation of mine next year ….]

---
Competition on power
Changeable weather, whacky thresholds
SGr is 1:1 only generator:consumer
Everybody wants to be king
You know nothing, inverter
Chargers that meter themselves
extended local control (heating time plans, weather)
Variable tariffs
[Speaker Notes: There are a few drawbacks to SGr, but the worst thing about it is that EM happens inside the inverter and it's 1:1 only. So cheap power assignment to a heat pump competes and conflicts with all other major consumers such as the EV charger. Device vendors keep improving their capabilities, many are going cloud to enhance them, but inverters will keep failing to get the comprehensive picture right needed to coordinate household devices. There’s many competitors to power. Chargers likewise, there‘s some that do their own metering to allow for excess only charging, they will be short lived kings at best. With variable tariffs latest coming up, local control can even have a negative impact on cost because cheapest times will be shifting around and will often be at night and in-place excess power based control will result in right the opposite of what it was supposed to accomplish. Anxiously waiting to tell my classic grid operator goodbye. I really believe Tibber is the new Twitter.]

---
Challenging owners
Connect appliances using smart plugs
Saving must not require to change handling
man vs computer
Peace of mind
[Speaker Notes: Final slide. Saving on energy and cost is fine and having features such as notifications when the washing is done are a bonus, but they are not enough to get people to change their long-acquired practice of operating household appliances. They will rather stop using the new system than change their habits. So for an EM system to get accepted, it must not enforce changes to handling. Connecting existing white goods is surprisingly simple, you don't need new smart HomeConnect alike devices because any washing program of classic white good devices, once started, can be interrupted and proceeds when you restore power. So any Shelly or other plug socket switch with metering capabilities will do. Automation is more consequent than any human and it doesn’t get tired of doing the savings math so you no more have to worry and remember all day long when to start you electric appliances best. For those to know this type of problem, automation can really get some you peace of mind. So to conclude, deploy your own Energy Management System, an Open Source based one of course, and get peace rather than expensive „intelligent“ devices. Become the sovereign of your energy usage. Thank you for listening.]

---
Thank you !
Markus Storm
markus@storm.house